Waveform Online Help

--------------------

Waveform v2.05 - copyright (C) 1994 - 2003 Nanometrics, Inc.

Table of Contents

-----------------

1.0 Overview

2.0 Using Waveform

2.1 Starting Waveform

2.2 Connecting to NaqsServer

2.3 Subscribing to Waveform data

2.4 Scaling all traces

2.5 Scaling individual traces

2.6 Other features

2.7 Saving your settings

2.8 Restoring a saved configuration

2.9 Quitting

3.0 Waveform Menus and Controls

3.1 File Menu

3.2 Trace Menu

3.3 Help Menu

3.4 Scale Control Bar

3.5 Connection Control Bar

3.6 Popup Trace Menu

4.0 Contacting Nanometrics

1.0 Overview

---------------

Waveform provides a simple, intuitive interface to view realtime time-series

waveforms from NaqsServer.  Waveform communicates with NaqsServer via TCP/IP

socket, so it can be run either on the NaqsServer machine, or on any other

machine which has an internet connection to NaqsServer.

Waveform allows you to subscribe to any time-series channels from NaqsServer.

For each subscribed channel, Waveform displays a trace plus some computed

signal statistics (maximum, minimum, mean and RMS).  The signal statistics

shown are the maximum, minimum, mean and RMS of the data currently displayed

(in counts).

2.0 Using Waveform

------------------

2.1 Starting Waveform

---------------------

Waveform can be started from the command line using the following command:

Waveform [configFile]

where the optional parameter configFile specifies a configuration file to load

on startup.  If the configFile is not specified, Waveform will try to load its

configuration from the file Waveform.ini in the current working directory.

If it cannot load the config file, it starts with a default configuration.

2.2 Connecting to NaqsServer

----------------------------

To connect to NaqsServer, enter the host name and port of the NaqsServer datastream

service in the Connection Control Bar at the bottom of the Waveform screen, then

select the Connect button.  If you start Waveform with a configuration file,

it will connect automatically to the address and port specified in the file.

2.3 Subscribing to Waveform Data

--------------------------------

Once you have connected, choose Subscribe from the Trace menu.  This will

display a dialog box listing the available waveform channels.  Check the

check box for each channel that you want to display, then press the OK button

to accept your choices.  Press cancel to discard your changes.  You may add

or remove channels at any time.

2.4 Scaling All Traces

----------------------

All traces have the same time scale, and by default, all use the same vertical

scale.  To change the time scale or vertical scale, use the Scale Control Bar

across the top of the Waveform window.  You may specify a vertical scale, or

check the Auto check box to use automatic scaling.

2.5 Scaling Individual Traces

-----------------------------

To specify a different vertical scale for an individual trace, click the right

mouse button on the trace to display the popup trace menu.  Uncheck the box

titled "default scale" then specify the trace-specific scale using the field

at the top of the popup menu.  You can also use this menu to remove a single

trace from the display.

2.6 Other Features

------------------

Waveform supports several other useful features.  These include:

Synchronize  use this button on the top control bar to specify whether the

time scales of each trace should be synchronized.

Freeze       use this button on the top control bar to freeze the display.

Uncheck the button to resume updating the screen.

Point Info   hold the mouse steady on a trace for a few seconds to display

a floating window which contains the time and sample value

for the point at the tip of the mouse arrow.

2.7 Saving your settings:

------------------------

Waveform allows you to save all settings (such as connection information,

channel selection and scaling, and the size and placement of windows) to a

configuration file at any time.  This allows you to restore these settings

when you start Waveform at a later time.

To save the settings, select Save or Save As from the File menu.

The configuration is stored in a binary file and cannot be editted manually.

The configuration is automatically saved when you exit the program.

2.8 Restoring a saved configuration:

-----------------------------------

There are two ways to restore a Waveform configuration that you have saved:

1. specify the name of the configuration file as a command-line argument

when you start Waveform

2. load the configuration using the Open option of the File menu

Waveform will automatically connect to NaqsServer and restore all settings

when it loads a configuration file.

2.9 Quitting:

------------

To exit from Waveform, select the Exit option from the File menu.

3.0 Waveform Menus and Controls

-------------------------------

3.1 File Menu

-------------

Open      loads a Waveform configuration file from disk

Save      saves the current Waveform configuration using the current filename

SaveAs    saves the current Waveform configuration to a new filename

Exit      exits from the Waveform program

3.2 Trace Menu

--------------

The trace menu allows you to add or remove time series channels from the display.

Subscribe        displays the Select Channels dialog, which allows you

to select which channels to display

Unsubscribe All  removes all traces from the display

Reset            clears the traces and sets the start time to zero.

This is the only way to make the start time move backwards.

3.3 Help Menu

-------------

Help Topics      displays online help

About Waveform   displays the current Waveform version number

3.4 Connection Control Bar

--------------------------

This control bar provides controls for specifying the NaqsServer address and

connection parameters.  It is found across the bottom of the Waveform window.

Host           specify the IP address of the NaqsServer host

Port           specify the TCP port used for NaqsServer datastream support

Callback       indicates if Waveform should connect using a callback socket

Connect        indicates if Waveform should try to connect

3.5 Scale Control Bar

---------------------

This control provides scaling controls for all traces.  It appears across the

top of the Waveform window, directly under the menu bar.

Time Width     specifies the time width of the traces in seconds

Synchronize    indicates if time scales for all traces should be synchronized

Freeze         freezes the traces (i.e. stops updating them with new data)

Vert. Scale    specifies the vertical scale of the trace plots in counts

Track DC       indicates if each plot should be centered about the DC value

of its trace (useful for channels with a large DC offset).

Auto           indicates if all traces should use automatic scaling

Selecting this box disables the Vertical Scale field.

The scales defined here are default scales for all traces, which may be

overridden for each trace using the popup trace menu described below.

3.6 Popup Trace Menu

--------------------

This menu provides scaling controls for a specific trace.  Display this menu

for a given trace by clicking the right mouse button on the trace.

Scale          allows you to enter the vertical scale for this trace

Default Scale  indicates whether this trace should use the default scale

Auto Scale     indicates if this trace should use automatic scaling

Track DC       indicates if the plot should be centered at the DC value

of the trace

Reset          clears the trace and sets its start time to zero.

This is the only way to make the start time move backwards.

Unsubscribe    remove this trace from the display

5.0 Contacting Nanometrics

--------------------------

To report problems with Waveform, please contact Nanometrics technical support:

Nanometrics Inc.

250 Herzberg Road

Kanata, Ontario

Canada  K2K 2A1

Telephone: (613) 592-6776

Fax:       (613) 592-5929

email:     support@nanometrics.ca

2003/07/28